## Slide 1: ARTICLE 22: CONCORD-CARLISLE REGIONAL HIGH SCHOOL CAPITAL PROJECTS
Mr. Booth moves that the Town approve $853,665 of debt authorized by the Concord-Carlisle Regional School Committee for repair and repaving of the access road, including sidewalk repairs, drainage, and lighting, as determined by the School Committee; provided, however, that this approval shall be contingent upon passage of a Proposition 2 1⁄2 debt exclusion referendum under Mass. Gen. Laws c. 59, § 21C(k) to exempt the Town’s allocable share of the amounts required for the payment of interest and principal on said borrowing.

## Slide 2: ARTICLE 22: CONCORD-CARLISLE REGIONAL HIGH SCHOOL CAPITAL PROJECTS
Article 22 requests approval for funds for the following on the CCHS Campus:
  Reconstruct the access road
  Install lighting along the access road
  Repair sidewalk and curbing

## Slide 3: ARTICLE 22: CONCORD-CARLISLE REGIONAL HIGH SCHOOL CAPITAL PROJECTS

## Slide 4: ARTICLE 22: CONCORD-CARLISLE REGIONAL HIGH SCHOOL CAPITAL PROJECTS
In FY20, Gale Associates, Inc. evaluated the campus access road as part of the campus feasibility study:
  Thoreau Street entrance is in poor condition with cracks and patches through the extent of the apron
  Significant ponding with damaged, cracked, and uneven pavement at the Walden Street entrance
  The entire length of the access road has alligator cracks, patches, and potholes

## Slide 5: ARTICLE 22: CONCORD-CARLISLE REGIONAL HIGH SCHOOL CAPITAL PROJECTS (Cont.)
  Tensile strength of the access road is failing and there may be a substandard base material
  Sidewalks and curbing are cracked and in need of replacement

## Slide 6: ARTICLE 22: CONCORD-CARLISLE REGIONAL HIGH SCHOOL CAPITAL PROJECTS
Concord Town Engineer; “We have performed a field review of the access road and estimated that the Pavement Condition Index (PCI) lies in the range of 40-55 which is considered “poor”.
Estimated Total Costs: $1,053,665 ($200,000) Stabilization Account Offset = $853,665

## Slide 7: ARTICLE 22: CONCORD-CARLISLE REGIONAL HIGH SCHOOL CAPITAL PROJECTS
Reconstruction includes new gravel subbase, compaction, paving of the road, catch basins & drainage, manholes (4 need to be replaced), concrete piping, curb and curb removal, granite edging, cement & asphalt
  Estimated Assess Road Costs: $830,565

## Slide 8: ARTICLE 22: CONCORD-CARLISLE REGIONAL HIGH SCHOOL CAPITAL PROJECTS
Conduit, Light Foundation, Light Post & Lamp Head, & Wire Installation
  Estimated Lighting Costs: $223,100

## Slide 9: ARTICLE 22: Access Road 2019
Broken and spalled pavement on sidewalks
Sunk utility covers
Multiple patches and significant cracking

## Slide 10: ARTICLE 22: Access Road 2019
Multiple patches and significant cracking

## Slide 11: ARTICLE 22: Thoreau St. Entrance 2022

## Slide 12: ARTICLE 22: Thoreau St. Entrance 2022

## Slide 13: ARTICLE 22: Front of the Beede Center 2022

## Slide 14: ARTICLE 22: Walden St. Entrance 2022

## Slide 15: ARTICLE 22: Estimated Costs to Each Community

## Slide 16: ARTICLE 22: Contingency
Costs Include:
    6% inflation
    15% contingency
    7.5% Soft costs buffers

## Slide 17: ARTICLE 22: Carlisle & Concord Timelines
Carlisle Town Meeting – April 25th (approved)
Concord Town Meeting – May 1st
Carlisle Annual Town Election Ballot – May 10th
Concord September Primary Ballot – September 6th

## Slide 18: ARTICLE 22: CONCORD-CARLISLE REGIONAL HIGH SCHOOL CAPITAL PROJECTS
Mr. Booth moves that the Town approve $853,665 of debt authorized by the Concord-Carlisle Regional School Committee for repair and repaving of the access road, including sidewalk repairs, drainage, and lighting, as determined by the School Committee; provided, however, that this approval shall be contingent upon passage of a Proposition 2 1⁄2 debt exclusion referendum under Mass. Gen. Laws c. 59, § 21C(k) to exempt the Town’s allocable share of the amounts required for the payment of interest and principal on said borrowing.